No. D-19016/12 /2008-Gen. I

Government of India

Planning Commission

General Branch-I

…

Yojana Bhavan, New Delhi

Dated :    3.12..08.

TENDER NOTICE

Planning Commission invite’s sealed quotations for procurements of One Disk Storage System with one Controller and two nos. of Processors  as per specifications mentioned in the enclosed Annexure I  for installation at Yojana Bhavan, Sansad Marg, New Delhi.

2.      	Complete tender document may either be downloaded from the website of the  Planning Commission (www.planningcommission.gov.in) or collected from General Branch-I, Room No. 443, Yojana Bhavan, New Delhi in any working day between 3.30 PM to 4.30 PM.

- Bidders may send their sealed quotation on company’s letter head to this Commission as per enclosed Annexure – I .

- Bidders are advised to study the Bid Document carefully before submitting the bid. Bids not complying with all the given clauses in this tender document are liable to be rejected.  Failure to furnish all information required by the tender Document will be at the bidders risk and may result in the rejection of the bid.

- The envelope should be addressed to the Under Secretary (Gen.I) , Planning Commission, Yojana Bhawan, Sansad Marg, New Delhi and superscribed as Tender for Disk Storage System,  so as to reach latest by 3.00 P.M. on 15.12.08 .  The quotation should either be sent by registered post at the above mentioned address or dropped in the Tender Box marked for this tender and placed at Reception Area of Yojana Bhawan, New Delhi by the stipulated date and time. The quotation dropped in any other box shall not be considered.

- Any bid received after the prescribed date and time for submission of bids will be summarily rejected and returned unopened to the bidder.  Planning Commission shall not be responsible for any postal delay or non-receipt/non-delivery of the documents. No further correspondence on this subject will be entertained.

(Mrs. Pramila Mathur)

Section Officer (Gen.I)

---  1   ---

Terms and Conditions

- Products should have ISO certification.

- The firm should be in a position to supply and install required  One Disk Storage System (HP/IBM) with Single Controller and two no. of Processor as per specifications mentioned in the enclosed Annexure- I.

- Rates should be quoted for the required hardware item as mentioned in the enclosed Annexure I  and can either be sent to “The Under Secretary (Gen-I)  Room No. 411, Yojana Bhavan, Sansad Marg, New Delhi-110001” or dropped in the tender Box kept at Reception Area of Planning Commission. The last date for receipt of quotation by 3.00 p.m. on 15.12.2008 and quotations will be opened at 4.00 p.m. on the same day in the presence of those tenderers or their authorized representatives who may wish to be present.

- Tenders on company’s  letter head alongwith a Pay Order/Banker’s Cheque of Rs. 30,000/- drawn in favour of “Pay & Accounts Officer, Planning Commission” towards Earnest Money Deposit should be submitted. Pay Order/Banker’s Cheque drawn in favour of any officer other than Pay & Accounts Officer, Planning Commission, New Delhi”, will not be accepted and the tender will be rejected. The EMD (without interest) will be returned only after finalization of the contract. Any tender that is received without the EMD  will be rejected. Tender received after specified time and date will not be accepted.

- The prices will be valid for a period of 6 months.

- Payment will be made on satisfactory delivery, installation and implementation  of supplied Networked storage system in Yojana Bhavan, New Delhi.

- Government Taxes as applicable from time to time shall be payable by this office. The bill raised by the Firm should have all tax registration numbers printed in the bill. Copy of PAN and registration of service tax should be enclosed. Validity of the tax registration shall be the sole responsibility of the Firm.

- Tenders incomplete in any form are liable to be rejected.

- Planning Commission reserves the right to reject any or all the tenders without assigning any reason.

- If any dispute(s) arises between Planning Commission and the firm with reference to the supplied items, Planning Commission will decide it and its decision will be binding on the Firm.

- In case the successful bidder declines the offer, for whatsoever reason(s), the earnest money would stand forfeited.

- The successful bidder should submit the Fixed Deposit as security money hypothecated to Planning Commission which should be remain valid for a period of sixty days beyond the date of installation of supplied items. The amount of performance security will be informed at the time of supply order.

- The quoted price should clearly indicate the details of taxes separately otherwise it will be assumed that the quoted prices are inclusive of tax.

- Correction over-writing in the tender document is not permissible. Every sheet of the tender document and the terms and conditions shall be signed and stamped by the authorized signatory of the Firm.

------    2    -----

- The competent authority in Planning Commission reserve the right to accept/reject allow any of the bids, or cancel the tender process at any time  without assigning any reason.

- In case, the successful bidder shows inability at any stage to supply Network Access DSS for whatsoever reasons(s), the performance security deposited would be forfeited.

- Planning Commission will make no advance payment.

- In case violation of any terms & condition on the part of the selected firm is noticed and if the services are found unsatisfactory, performance security can be forfeited at the discretion of the competent authority.

(Mrs. Pramila Mathur)

Section Officer (Gen.I)

Terms and Conditions are acceptable.

Date :                                                  (Authorized Signatory)

Signature of the tenderer with seal in token of acceptance of   the terms & conditions

Disk Storage System (HP/IBM)                  (Annexure – I)

Quantity – One

Controller required -  Single				   No. of Processor -   Two

| 1. | Processor Speed | Intel 2.2 GHZ Mobile Celeron (minimum) |
| --- | --- | --- |
| 2. | RAM | 2 GB: Non-volatile Memory - 256 MB |
| 3. | Disk Capacity | 12x300 GB (SAS) – 12 number of 300 GB SAS Drive); 15,000 rpm for Raid 5 and Raid 6 |
|  |  | 1333 MHz System Bus (FSB) |
| 4. | Operating System & Other features | Date ONTAP, CIFS, Power Cord, India, Field install rack mount kit, Data ONTAP, CIFS, Window 2000, Windows Server ® 2003, Windows,XP, Linux ,Sun Solaris, IBMAIX ®, HP-UX, Mac OS, Integrated RAID Manager, including RAID-DPCIFS, Snapshot NFS, Fast Booth TTP, NISISCSI, DNSFCP Server Suite, Single Mailbox Recovery Application Suite, Snap Mover, Filer View®, Flex Cache TM, Filer safety Maximum number of Fibre Channel loops. |
| 5. | AC power | Max.current 100 to 120 VAC/4.4A; 200 to 240 VAC/2.3A 100 to 120 VAC/7A; 200-240 VAC/3.5A; 50/60Hz |
| 6. | Operating temperature | Maxi. Range 10 C to 40 C (50 F to 104 F) , recommended operating temperatuare range 20 C to 25 C (68 F to 77 F) |
| 7. | Disk Expansion Units | Supported SATA: 250 GB. 500 GB,750 GB, 7,200 rpm, 1 TB |
| 8. |  | Operating relative humidity range 10% to 95% relative humidity, non-condensing 10% to 96% |
| 9. |  | Each with 14 low-profile slots for fibre channel and SATA disk drives , Legacy support for expansion unit |
| 10. |  | EXN2000 FC disk storage expansion unit (MTM 2863-001) |
| 11. |  | Disk drive storage sheif interface PCI-x or PCI-e-based Fibre Channel |
| 12. | Power Supply and cooling Fan | Dual, redundant, hot-pluggable, integrated power supply/fan assemblies (220V/110V) |
| 13. |  | Arbitrated Loop (FC-AL); I/O Ports: 2/6 Fibre Channel Ports (4Gbps) Ethernet Ports : (2/4) |
| 14. | Storage Scalability | 104 TB with max. no. of disks – 104 and maximum volume size – 16, etc. with redundant hot-swappable controllers, cooling fans and power supplies – RAID-6 (RAID-DP TM) support and fibre Channel Protocol (FCP) and /or ISCSI; Fabric-attached and direct-attached, NFS V2/V3/V4 over UDP or TCP, PCNFSD V1/V2 for (PC) NFS client authentication, Microsoft ® CIFS, HTTP 1.0 , HTTP 1.1 virtual hosts upto to 200 per controller. |
| 15 |  | Mountable (2U Rack) and will be installed in any one of the existing RACK. |
| 16. |  | 2 Gbps Fibre Channel: 144 ,300 GB, 15,000 rpm |
| 17 |  | Disk Storage expansion units supported EXN4000 – 4 Gbps Fibre Channel |
| 18 |  | Disk Storage expansion unit (MTM 2863-004) |
| 19 |  | EXN1000 SATA disk storage expansion unit (MTM 2861-001) |
| 20. | Warranty (party/labour/onsite | 3/3/3 (minimum) with option of extending warranty (NOT AMC) for another 2/2/2 years |

The total price of One Disk Storage System with Single controller and two nos. of Processors having above mentioned configuration will be Rs.(in figures)_________ (in words)________________________________________.

Signature

Name & Office Seal