No. D-19016/3/2008-Gen. I

Government of India

Planning Commission

General Branch-I

…

Yojana Bhavan, New Delhi

Dated : 12.6.08.

TENDER NOTICE

Planning Commission invite’s sealed quotations for procurements of hardware items as per specifications mentioned in the enclosed Annexure I & II for installation at Yojana Bhavan, Sansad Marg, New Delhi.

2.      	Complete tender document may either be downloaded from the website of the  Planning Commission (www.planningcommission.gov.in) or collected from General Branch-I, Room No. 443, Yojana Bhavan, New Delhi in any working day between 3.30 PM to 4.30 PM.

- Bidders may send their sealed quotation to this Commission on the enclosed Annexure –I & II.

- Bidders are advised to study the Bid Document carefully before submitting the bid. Bids not complying with all the given clauses in this tender document are liable to be rejected.  Failure to furnish all information required by the tender Document will be at the bidders risk and may result in the rejection of the bid.

- The envelope should be addressed to the Under Secretary (GI) , Planning Commission, Yojana Bhawan, Sansad Marg, New Delhi and superscribed as Tender for Hardware Items,  so as to reach latest by 3.00 P.M. 20.6.08 .  The quotation should either be sent by registered post at the above mentioned address or dropped in the Tender Box marked for this tender and placed at Receiption Area of Yojana Bhawan, New Delhi by the stipulated date and time. The quotation dropped in any other box shall not be considered.

- Any bid received after the prescribed date and time for submission of bids will be summarily rejected and returned unopened to the bidder.  Planning Commission shall not be responsible for any postal delay or non-receipt/non-delivery of the documents. No further correspondence on this subject will be entertained.

(N.K.Raghunathan)

Under Secretary (Gen.I)

Terms and Conditions

- Products should have ISO certification.

- The firm should be in a position to supply and install required hardware items as per specifications mentioned in the enclosed Annexure-I & II.

- Rates should be quoted for the required hardware items as mentioned in the enclosed Annexure I & II and can either be sent to “The Under Secretary (GI)  Room No. 411, Yojana Bhavan, Sansad Marg, New Delhi-110001” or dropped in the tender Box kept at Reception Area of Planning Commission. The last date for receipt of quotation by 3.00 p.m. on 20-06-2008 and quotations will be opened at 4.00 p.m. on the same day in the presence of those tenderers or their authorized representatives who may wish to be present.

- Tenders on company’s  letter head alongwith a Pay Order/Banker’s Cheque of Rs.30,000/- drawn in favour of “Pay & Accounts Officer, Planning Commission” towards Earnest Money Deposit should be submitted. Pay Order/Banker’s Cheque drawn in favour of any officer other than Pay & Accounts Officer, Planning Commission, New Delhi”, will not be accepted and the tender will be rejected. The EMD (without interest) will be returned after finalization of the contract. Any tender that is received without the EMD  will be rejected. Tender received after specified time and date will not be accepted.

- The prices will be valid for a period of 4 months.

- Payment will be made on satisfactory delivery, installation and working of supplied hardware items in Yojana Bhavan, New Delhi.

- Government Taxes as applicable from time to time shall be payable by this office. The bill raised by the Firm should have all tax registration numbers printed in the bill. Copy of PAN and registration of service tax should be enclosed. Validity of the tax registration shall be the sole responsibility of the Firm.

- Tenders incomplete in any form are liable to be rejected.

- Planning Commission reserves the right to reject any or all the tenders without assigning any reason.

- If any dispute(s) arises between Planning Commission and the firm with reference to the supplied items, Planning Commission will decide it and its decision will be binding on the Firm.

- In case the successful bidder declines the offer, for whatsoever reason(s), the earnest money would stand forfeited.

- The successful bidder should submit the Fixed Deposit as security money hypothecated to Planning Commission which should be remain valid for a period of sixty days beyond the date of installation of supplied items. The amount of performance security will be informed at the time of supply order.

- The quoted price should clearly indicate the details of taxes separately otherwise it will be assumed that the quoted prices are inclusive of tax.

- Correction over-writing in the tender document is not permissible. Every sheet of the tender document and the terms and conditions shall be signed and stamped by the authorized signatory of the Firm.

- The competent authority in Planning Commission reserve the right to accept/reject allow any of the bids, or cancel the tender process at any time  without assigning any reason.

- In case, the successful bidder shows inability at any stage to supply  any hardware items for whatsoever reasons(s) , the performance security deposited would be forfeited.

- Planning Commission will make no advance payment.

- In case violation of any terms & condition on the part of the selected firm is noticed and if the services are found unsatisfactory,  performance security can be forfeited at the discretion of the competent authority.

(N.K.Raghunathan)

Under Secretary (Gen.I)

Terms and Conditions are acceptable.

Date :                                                  (Authorized Signatory)

Signature of the tenderer with seal in token of acceptance of   the terms & conditions

(Annexure –I)

| 1. | Processor | Quad Core Intel Xeon Processor DP 5400 series with Extended Memory 64MB Technology (EM64T) or equivalent/higher |
| --- | --- | --- |
| 2. | Chipset | Server Class Intel 5000x or higher |
| 3. | No. of CPU | 2 CPU per Server: Clock Speed-2.66 GHZ or more |
|  |  | 1333 MHz System Bus (FSB) |
| 4. | CACHE | L2 Cache -6 MB per Socket for 2 sockets (12 MB =2x6MB) |
| 5. | RAM | Configured with 8/16 GB Fully Buffered RAM @667MHz with ECC capability, multibit error correction, should be able to support spare bank and memory mirroring; 8 sockets support in matched Pairs |
| 6. | VIDEO RAM | Onboard Minimum 16 MB Video memory |
| 7. | STORAGE (INTERNAL) | SAS controller @ 3.0 Gbps or higher, minimum 256 MB Battery Backed Write cache for RAID Level 0,1,1+0,5.; Intel Disk Storage 6x 400 GB with SAS hot plugs HDD in RAID 5; all Intel Hard Disks should be minimum 15,000 RPM and hot swappable.; Total Space 2000 GB Space; raid 5 capability |
| 8. | Optical Media | DVD Writer |
| 9. | NETWORK | Dual Integrated on Board Gigabit 10/100/1000 MBPS 64bit Ethernet Adapters with wake on LAN support, auto sensing, full duplex.; Auto Failover Features ;iSCSI boot technology for above LAN Cards |
| 10. | EXPANSION SLOTS | Minimum 3 Nos. PCI or PCI express slots. |
| 11. | Other Features | 1 Nos. Serial Port; 4 Nos. USB Port |
| 12. | Power Supply and Fan | Hot Plug and Redundant AC Power for entire configuration with automatic fail-over. Redundant and Hot Plug FANS for entire configuration with automatic fail-over. |
| 13. | System Management | Server OEM browser based software for monitoring Managing and configuring servers. Should provide comprehensive fault/performance management. Management Processor with Intelligent Platform Management Interface. All software to be provided along with should be browser based and command line interface. GUI based remote console should also be supported. |
|  | Warranty (party/labour/onsite) | 3/3/3 |
|  | Server Type | Rack Mountable (24U Rack) |

Beside Server, there is a requirement of secondary storage on LTO2 Tape Drive. The specification of LTO Tape Drive is as follow:-

(II)   Storage Loader LTO2 Tape Drive, 8 slots, 2x4 Magazines,  Rack Mount Kit, External 68 VHDCI/68/HD SCSI w/Terminator, Cable, Power Cord, Installation & Operation, Warranty Card, Quick Installation Guide.

SCSI card compatible for above Server Rack 24U

IP KVM Switch with all necessary cables/accessories.

The total price of One Server of above mentioned configurations , LTO Tape Drive , SCSI Card and IP KVM Switch with all necessary cables/accessories is  Rs. ________________. (Rs. in figures & words)

Signature

Name & Office Seal

Annexure – II

________________________________________________________________

Sr.No.    Description of Items                              Quantity            Unit Price

=============================================================

1.   HP Compaq dc7800 ultra-silm Desktop          Four   --------

(Core 2-duo E6750 system: 3.0 GHZ with

19”TFT and energy efficient design:

160 GB Solid hard-Disk drive:

2 GB RAM; 8 USB- Ports,

in-built DVD Writer with warranty period)

2.    HP Compaq 2210b Notebook                          Three  --------

(Intel Core 2 Duo Processor, 160 HB HDD

DVD writer, light weight 1.68 Kg. and

2 GB RAM, Window Vista Business OS ,

Warranty period etc.,)

3.     Internal Storage ---------------------------------   For two servers

( 6X300 GB 3G SAS 15,000 3.5” HDDS

(1.8 TeraByte SAS Model)

4.     Redundant Power Supply  -----------------            Seven

( Seven HP Proliant ML350 G5 Storage

Servers)

________________________________________________________________

Signature

Name and Office Seal