FINAL REPORT

PLANNING COMMISSION

GOVERNMENT OF INDIA

PILOT STUDY

ON

WATER USE EFFICIENCY FOR

WESTERN YAMUNA CANAL

(HARYANA)

MINI RATNA

# WATER AND POWER CONSULTANCY SERVICES (INDIA) LIMITED

(A Government of India Undertaking)

Registered & Corporate Office : “Kailash” 5th Floor, 26, K.G. Marg, New Delhi – 110 001

Phone : (91-11) 23354532, 23354582, Fax : (91-11) 23313134

Gurgaon Office : 76-C, Institutional Area, Sector - 18, Gurgaon (Haryana) – 122 015

### Phone : (0124) 2398174, 2397391 Fax: (0124) 2399224

E-Mail – wapcos@.vsnl.com    Web site : www.wapcos.org

## FEBRUARY,  2003

#### ISO  9001  : 94

MINI RATNA

PILOT STUDY ON WATER USE EFFICIENCY FOR

WESTERN YAMUNA CANAL (HARYANA)

CONTENTS

| PAGE NO |  |  |
| --- | --- | --- |
| EXECUTIVE SUMMARY |  |  |
| 1.0 | Introduction | 1 |
| 1.1 | Approach | 2 |
| 1.2 | Water Use Efficiency | 3 |
| 1.3 | Conclusion & Recommendation | 4 |
| CHAPTER - 1 : INTRODUCTION |  |  |
| 1.1 | Origin of the System | 1 |
| 1.2 | Historical Background | 1 |
| 1.3 | WJC Canal System | 1 |
| 1.4 | Allocation of Waters | 5 |
| 1.5 | Remodelling of WJC | 5 |
| 1.6 | Project Parameters | 8 |
| 1.7 | Bio Climatic Regions | 10 |
| 1.8 | Soil Characteristics | 10 |
| 1.9 | Ground Water | 11 |
| CHAPTER - 2 : SCOPE OF THE STUDY |  |  |
| 2.1 | Terms of Reference | 1 |
| 2.2 | Approach and Methodology | 2 |
| 2.2.1 | Study of the releases | 2 |
| 2.2.2 | Components of various losses | 2 |
| 2.2.3 | Delta Analysis | 3 |
| 2.2.4 | Equity in Distributions | 3 |
| 2.2.5 | Seepage Loss | 4 |
| 2.2.6 | Flow and Sprinkler Irrigation | 4 |
| 2.2.7 | Avoidable Loss | 4 |
| 2.3 | Data Availability | 5 |
| 2.4 | Project Site Visits | 6 |
| CHAPTER - 3 : BASE-LINE PARAMETERS OF WJC & THEIR EFFECT ON WATER-USE EFFICIENCY |  |  |
| 3.1 | Water Use Efficiency | 1 |
| 3.1.1 | Crop Water Requirement | 1 |
| 3.2 | Water Allowance and Capacity Factor | 12 |
| 3.3 | Principle underlying the Distribution of Canal Water on WJC | 16 |
| 3.4 | Plan of Releases into Conveyance System | 18 |
| 3.5 | Control over Conveyance System | 21 |
| 3.5.1 | Rotational Programme | 21 |
| 3.5.2 | Rotational Programme below the outlet | 24 |
| 3.6 | Important Control Works for Regulation | 28 |
| 3.6.1 | Tajewala headworks & its Replacement by New Hathnikund Barrage | 28 |
| 3.6.2 | Adverse Repercussion on Losses and Water Use Efficiency due to non-commissioning of long completed HKB | 30 |
| 3.6.3 | Augmentation Canal | 32 |
| 3.6.4 | Effective Structures on WJC distribution network | 33 |
| 3.6.5 | Outlets-History of Evolution and factors bearing the design of outlets on WJC System | 40 |
| 3.6.6 | Modernising Regulation of Irrigation Supplies on WJC Network | 47 |
| 3.6.7 | Dynamic Regulation by Modernising Communication Network | 50 |
| CHAPTER - 4 : ANALYTICAL STUDY OF THE LOSSES |  |  |
| 4.1 | Introduction | 1 |
| 4.2 | Selection of Control Points | 2 |
| 4.3 | Details of the Study, basis & Outcome | 3 |
| 4.4 | Estimation of losses | 6 |
| 4.4.1 | Losses on WJC main line upper | 6 |
| 4.4.2 | Losses between main line lower , Head Augmentation Canal and Munak | 7 |
| 4.4.3 | Losses on Parallel Delhi Branch (Head & tail) | 9 |
| 4.4.4 | Losses between tail Parallel Delhi Branch & crossing Najafgarh drain | 10 |
| 4.4.5 | Losses on Dulehra Distributary System (0-tail) | 11 |
| 4.4.6 | Losses on Bhalaut Sub Branch (0 - tail) | 11 |
| 4.4.7 | Losses on Distributary & Minor system of WJC | 12 |
| 4.5 | Losses below the outlet in field water course | 12 |
| 4.6 | Losses on field | 15 |
| 4.6.1 | Field loss observation on selected chaks of WJC | 21 |
| 4.7 | Abstract of average of transit loss | 22 |
| 4.8 | Recommended method for field application under different condition for optimising water use efficiencies | 23 |
| 4.8.1 | Increasing water use efficiency by improving upon crop & soil management practices | 28 |
| 4.9 | Delta statistics on various sub system of WJC & WJC as a whole | 32 |
| 4.9.1 | Observation for Improving Periodic Deliveries | 33 |
| CHAPTER - 5 : CONCLUSIONS |  |  |
| 5.1 | General | 1 |
| 5.2 | Abstract of Loss & Water Use Efficiency | 1 |
| 5.3 | Factors affecting Water Use Efficiency | 5 |
| 5.4 | Financial Repercussion of Measures For Improving the Water Use Efficiency | 12 |
| CHAPTER - 6 : RECOMMENDATIONS |  | 1 |

- ANNEXURES - DRAWINGS - PHOTOGRAPHS

LIST OF ANNEXURES

| CHAPTER - 1 : INTRODUCTION |  |
| --- | --- |
| 1.1 | Agreement on WJC sharing - 1954 agreement |
| 1.2 | MOU on Yamuna Waters 1994-95 |
| CHAPTER - 3 : BASE-LINE PARAMETERS OF WJC & THEIR EFFECT ON WATER-USE EFFICIENCY |  |
| 3.1 | Rotational Programme of Group A |
| 3.2 | Rotational Programme of Group B |
| 3.3 | Rotational Programme of Group C |
| 3.4 | Rotational Programme of Group D |
| 3.5 | Rotational Programme of Group E |
| CHAPTER - 4 : ANALYTICAL STUDY OF THE LOSSES |  |
| 4.1 | Discharge Releases Data for Tajewala Headworks |
| 4.1.1 | Discharge in River Yamuna & Releases D/s Tajewala Headworks |
| 4.2 | Discharge Downstream Dadupur into NBK Link |
| 4.2.1 | Discharge Downstream Cross Regulater |
| 4.2.2 | Releases into Augmentation Canal |
| 4.3 | Abstract of total releases (cusec days) into direct offtakes of NBK link & direct offtakes between Indri and Munak |
| 4.4 | Withdrawl by direct offtakes of Delhi Branch |
| 4.5 | Withdrawl by direct off takes of Bhalaut sub branch |
| 4.6 | Withdrawl by direct off takes of Jhajjar sub branch |
| 4.7 | Withdrawl by direct off takes of Dulehra sub branch |
| 4.8 | Releases into Jua Disty & Supply at Tails of its offtakes |
| 4.9 | Discharge Tables |
| 4.10 | Delta on WJC areas |
| 4.11 | Irrigation water deliveries vis-à-vis coverage of area on Hissar Major Disty. |
| 4.12 | Pre-lining & Post lining Irrigation |
| 4.13 | Seepage loss study |
| 4.14 | Efficiency by saving time in delivery of canal water from Head to Tail of Channels |
| 4.14.1 | Weighted Av. ETo Values. |
| 4.15 | Comparative Study of Irrigation - A case history (for head reach, middle reach & Tail reach) |
| 4.16 | Statistics of irrigation for various crops |
| 4.17 | Comparison of Irrigation Intensity (%) of WJC with other canals |
| 4.17A | CCA/ Area Irrigated and Intensity & Irrigation on WJC |
| 4.18 | Progressive increase in Irrigation on WJC |
| 4.19 | Storages in WJC Command |
| 4.20 | Main Drains in WJC Command |
| CHAPTER - 5 : CONCLUSIONS |  |
| 5.1 | Schedule of Rates as existing |
| 5.2 | Latest Recommendation on Schedule of Rates based on water-consumption |

LIST OF DRAWINGS

| CHAPTER - 1 : INTRODUCTION |  |
| --- | --- |
| 1.1 | Irrigation Map of Haryana showing WJC Command |
| 1.2 | Index Map of WJC System |
| 1.3 | Map showing canal system of WJC West Circle |
| 1.4 | Index Plan of Hansi Branch Tail System |
| 1.5 | Schematic Diagram of WJC Canal System |
| 1.6 | Ground Water Quality Map of Haryana State |
| CHAPTER - 3 : BASE-LINE PARAMETERS OF WJC & THEIR EFFECT ON WATER USE EFFICIENCY |  |
| 3.1 | Hathni Kund Barrage |
| CHAPTER - 4 : ANALYTICAL STUDY OF THE LOSSES |  |
| 4.1 | Longitudinal section of Delhi Branch |
| 4.2 | Chak of O/L 10180 R Lampur Distributary |
| 4.3 | Chak of O/L 14666 R Jaunti minor |
| 4.4 | Chak of O/L 274239 L Delhi Sub Branch |

LIST OF PHOTOGRAPHS

| FIG. NO | DESCRIPTION |
| --- | --- |
| 1. | Tajewala Headworks |
| 2. | Important Control Points & Discharge Sites |
| 3. | Tail parallel Delhi Branch (PDB) |
| 4. | Trifurcation at Tail PDB, of three branch canals i.e. head JLN; Head BSB Head Delhi Branch & Two Distys. |
| 5. | Head JLN & BSB |
| 6. | Gaugewell at Tail PDB |
| 7. | Head Delhi Branch and Bhainswal Disty. (Discharge site) |
| 8. | Head Sardhana Disty; (Leakage when closed) |
| 9. | Delhi Branch u/s Cross regulator |
| 10. | Delhi Branch D/s Cross regulator |
| 11. | Tail BSB System |
| 12. | Sunder Sub Branch |
| 13. | Okhla Headworks for Agra Canal carrying WJC & UGC waters |
| 14. | Head Narnaud Disty. |
| 15. | Head Petwar & New Siwani feeder (Rajthal) |
| 16. | Tail Hansi Branch |
| 17. | Downstream Head Petwar Disty. |